## Sheet1
Annual Inspection Items
Item | Product Description | Bid Unit | Price
1 | Tank Monitor Site Inspection and Certification (covers up to three tanks, with up to 9 sensors and 3 level gauge probes) | each | 310
2 | Line Tightness and Leak Detector Testing | set | 111
3 | Line Tightness Testing | fuel line | 73
4 | Leak Detector Testing | each leak detector | 39
5 | Washington State Ecology Fuel Station Audit Form (completed and submitted to the State) | each | No Charge
Air Quality Tests
Item | Product Description | Bid Unit | Price
6 | Air to Liquid Ratio Testing | each test point | 15
7 | Static Pressure Decay Testing | system | 275
8 | Dynamic Back Pressure Testing | system | 138
9 | Static Torque Adaptors Swivel Test | each | 15
10 | Tank Tie Testing (no ground breaking) | each | 15
Miscellaneous Items
Item | Product Description | Bid Unit | Price
11 | Cathodic Protection Test (Materials required for test will be billed separately.) | Per tank | 425
12 | Tank Testing (Precision Tank Test) | each tank | 386
13 | Tank Monitor Site Inspection and Certification (more than 3 tanks at site) | each | 370
14 | Repair Labor | Per hour | 82
Repair Labor to be only in the event of a failed test and only to the extent to:
1. Bring station into compliance.
2. Protect the environment from contamination or impending contamination
3. Safeguard life or property.
15 | Non-Permit Required Confined Space | Per Inspection | 28
16 | Permit Required Confined Space | Per Inspection | 94