## Contact Info
(Scroll side-to-side for all vendors) | [7 empty] | (Scroll side-to-side for all vendors)
Consolidated Electrical Distributors, INC |  |  |  | North Coast Electric |  |  |  | Valmont Industries, Inc. |  |  |  | Meltar Supply, LLC
Ordering/Sales Point of Contact |  |  |  | Ordering/Sales Point of Contact |  |  |  | Ordering/Sales Point of Contact |  |  |  | Ordering/Sales Point of Contact
Jim O'Rourke |  |  |  | Ben Weller |  |  |  | Matt Burke |  |  |  | Tara Kramer
206-491-2520 |  |  |  | 503-630-2770 |  |  |  | 402-963-2463 |  |  |  | 503-957-2840
jim.orourke@ced.com |  |  |  | ben.weller@northcoast.com |  |  |  | mtb@valmont.com |  |  |  | Tara@meltarsupply.com
www.ced.com |  |  |  | www.northcoast.com |  |  |  | www.valmont.com |  |  |  | Light Pole Product Information:
https://www.wagnerscft.com/main/products/electrical-infrastructures/light-poles/
Payment accepted: Visa, MasterCard, Amex, Discover, ACH Payments |  |  |  | Payment accepted: Visa, MasterCard, Amex, Discover |  |  |  | Paymnent accepted: Visa and Mastercard |  |  |  | Payment accepted: Visa, Mastercard, American Express, Discover and other. Card fees charged at 3%. For more ordering points of contact, see below.
For specific location ordering, see list below. |  |  |  | For more ordering points of contact, see below. |  |  |  | For more ordering points of contact, see below.
Name | Phone Number | E-mail | Area of Responsibility | Name | Phone Number | E-mail | Area of Responsibility | Name | Phone Number | E-mail | Area of Responsibility | Name | Phone Number | E-mail | Area of Responsibility
Jim O’Rourke | (206) 491-2520 | jim.orourke@ced.com | All/Contract Manager | Ben Weller | 503-630-2770 | ben.weller@northcoast.com | All of WA Govt Sales | Julie Trent | 402-359-6747 | jtrent@valmont.com | Quotes and order service | John Downing | 813-344-4015 | john@meltarsupply.com | Quotes and order service
Aaron Arnold | (360) 533-2852 | aaron@cedaberdeen.com | CES Aberdeen | Ryan Engelhart | 253-682-3657 | ryan.engelhart@northcoast.com
Trent Hackler | (360) 293-5818 | trent@cedanacortes.com | CED Anacortes | Catie Warren | 503-630-2770 | catie.warren@northcoast.com | Inside Sales Support
Cory Jacoby | (360) 734-9676 | cjacoby@apbellingham.com | All-Phase Bellingham
Nichole Locke | (360) 377-8585 | nlocke@cedbremerton.com | CED Bremerton
Jake Hanby | (360) 755-0831 | jhanby@apburlington.com | All-Phase Burlington
Samuel Silberman | (360) 736-8236 | sam@cedcentralia.com | CES Centralia
Jesika Lax | (509) 925-4537 | jesika@cedellensburg.com | CED Ellensburg
Wayne Berry | (425) 259-8135 | wberry@cedeverett.com | CED Everett
Ann Beach | (253) 893-7333 | ann@cedseattle.com | CED Kent/Seattle
Ryan Schwan | (360) 923-2345 | rschwan@cedlacey.com | CED Lacey/Olympia
Ross West | (208) 743-2531 | rwest@cedlewiston.com | CED Lewiston
Chris Webster | (208) 743-2531 | cwebster@cedlewiston.com | CED Lewiston
Jeff Thornton | (360) 425-7370 | jeff@cedlongview.com | CES Longview
Brady Wilson | (509) 765-1251 | bwilson@cedmoseslake.com | CED Moses Lake
Counter Sales | (360) 452-9706 | customerservice@ced-pa.com | CED Port Angeles
Cameron Wilson | (253) 841-1995 | cwilson@ced-puyallup.com | CED Puyallup
Keith Strand | (509) 737-8282 | keith@ced-ken.com | CED Richland/Tri-Cities
Edgar Lechuga | (509) 737-8282 | edgar@ced-ken.com | CED Richland/Tri-Cities
Terry Klein | (206) 623-1501 | terry_klein@stusserseattle.com | Stusser Seattle
Doug Rogers | (509) 535-8891 | drogers@cedspokane.com | CED Spokane
Val Wilson | (253) 383-5961 | vwilson@ced-tacoma.com | CED Tacoma
Matt Pezzi | (360) 694-6704 | matt@cedvancouver.com | CED Vancouver
Mike Burts | (509) 662-2129 | mburts@ced-wenatchee.com | CED Wenatchee
Eddie Alvarado | (509) 662-2129 | eddie@ced-wenatchee.com | CED Wenatchee
Rod Dukart | (509) 248-0872 | rod@cedyakima.com | CED Yakima

## Cat 1-Street Light
Steel Light Standards
Lead-time for Category One is 10-12 weeks
Item # | Item Description | Pre-approved Drawing No. | Manufacturer | Catalog/ Design # | Est. 2-Year Usage | Unit of Measure | Non Buy America Unit Price | Price Federal (Buy America)
1 | 40' mounting height shaft with post top mounting with three bolt base plate. | DB01164 | Valmont | WSDOT specs | 36 | Ea | 2480 | 2480
2 | 37' mounting height shaft with post top mounting with special 4 bolt base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2315 | 2315
3 | 37' mounting height shaft with post top mounting with median barrier base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2445 | 2445
4 | 30' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 1745 | 1745
5 | 40' mounting height shaft for Type 1 luminaire arm with 3 bolt base plate. | DB01164 | Valmont | WSDOT specs | 60 | Ea | 2175 | 2175
6 | 50' mounting height shaft for Type 1 luminaire arm with 3 bolt base. | DB01164 | Valmont | WSDOT specs | 4 | Ea | 2750 | 2750
7 | 50' mounting height shaft for Type 1 luminaire arm with 3 bolt base. (6’-16’Double mast arm max) | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2750 | 2750
8 | 30' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 1735 | 1735
9 | 40' mounting height shaft for Type 1 luminaire arm with special 4 bolt base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2170 | 2170
10 | 30' mounting height shaft for Type 1 luminaire arm with median base plate. | DB01164 | Valmont | WSDOT specs | 20 | Ea | 1950 | 1950
11 | 40' mounting height shaft for Type 1 luminaire arm with median barrier base plate. | DB01164 | Valmont | WSDOT specs | 20 | Ea | 2310 | 2310
12 | 50' mounting height shaft for Type 1 luminaire arm with median barrier base plate. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2825 | 2825
13 | 6' Type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 965 | 965
14 | 8' type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 970 | 970
15 | 10' Type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 2 | Ea | 875 | 875
16 | 12' Type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 18 | Ea | 880 | 880
17 | 14' Type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 4 | Ea | 885 | 885
18 | 16' Type 1 luminaire arm. | DB01164 | Valmont | WSDOT specs | 4 | Ea | 889 | 889
19 | Double arm 6' Type 1 luminaire arms | DB01164 | Valmont | WSDOT specs | 2 | Ea | 1800 | 1800
20 | Double arm 10' Type 1 luminaire arms | DB01164 | Valmont | WSDOT specs | 2 | Ea | 1880 | 1880
21 | Double arm 12' Type 1 luminaire arms | DB01164 | Valmont | WSDOT specs | 2 | Ea | 2030 | 2030
22 | Double arm 16' Type 1 luminaire arms | DB01164 | Valmont | WSDOT specs | 2 | Ea | 1785 | 1785
23 | 3 bolt slip base assembly with clamping bolts and keeper plate. |  | Valmont | WSDOT specs | 6 | Ea | 1360 | 1360
24 | Keeper Plate |  |  |  | 2 | Ea | 25 | 25
25 | Clamping Bolts (Set) |  |  |  | 2 | Ea | 240 | 240
26 | Slip Base |  |  |  | 2 | Ea | 1115 | 1115
27 | Slip base adapter type for 4-bolt light standard base and 4 bolt foundation. |  | Valmont | WSDOT specs | 2 | Ea | 965 | 965
28 | 1" anchor bolt set for 3 bolt base or slip base. |  | Valmont | WSDOT specs | 18 | Ea | 340 | 340
29 | 1" anchor bolt set for 4 bolt base. |  | Valmont | WSDOT specs | 2 | Ea | 415 | 415
30 | Elbow Adapter for 3-bolt base plate poles. |  | Valmont | WSDOT specs | 2 | Ea | 3890 | 3890
31 | Option for powder coating, Federal Standard #595B Color No 30040 (Dark Brown) |  |  |  | N/A | Ea | 25% premium over galv | 25% premium over galv
32 | Option for powder coating, Federal Standard #595B Color No 30045 (Dark Brown/Bronze) |  |  |  | N/A | Ea | 25% premium over galv | 25% premium over galv
33 | Option for powder coating, Cascade Green (custom color) |  |  |  | N/A | Ea | 25% premium over galv | 25% premium over galv
Discount for volume purchases:
| Quantity | Percentage Discount Off Unit Price
| 10 | 5%

## Cat 2-Traffic Signal
Traffic Signal Standards
Lead times Subpart A 10-12 weeks Subparts B and C 12-14 weeks
Subpart A
Item # | Description | Manufacturer | Standard Plan or Pre-approved Drawing # | Unit | Non Buy America Unit Price | Price Federal (Buy America)
1 | 5’ Type PPB, Pedestrian Push Button Post per the attached specifications. | Valmont | DB001165 | Ea | 430 | 430
1A | Four ½” x 18”Anchor Bolt Set for 5’ Type PPB Signal Standard |  |  | Set | 180 | 180
2 | 5’-8” Type PPB, Pedestrian Push Button Post per the attached specifications. |  |  | Set | 440 | 440
2A | 6’-2” Type PPB, Pedestrian Push Button Post per the attached specifications. |  |  | EA | 450 | 450
2B | Four ½” x 26” Anchor Bolt Set for 5’-8” or 6’-2” Type PPB Signal Standard |  |  | Set | 800 | 800
3 | 8’ - Type PS, Slip Base, Pedestrian Head Standard with slip base per the attached specifications. |  |  | Ea | 2070 | 2070
3A | 8’ - Type PS Fixed Base, Pedestrian Head Standard with fixed base per the attached specifications. |  |  | Ea | 970 | 970
4 | 10’ Type I or RM Slip Base, Type I Signal Standard or Ramp Meter with slip base per the attached specifications. |  |  | Ea | 2070 | 2070
4A | 10’ Type I or RM Fixed Base, Type I Signal Standard or Ramp Meter with fixed base per the attached specifications. |  |  | Ea | 870 | 870
5 | 14’ - Type FB Slip Base, Flashing Beacon Standard with slip base per the attached specifications. |  |  | Ea | 2080 | 2080
5A | 14’ - Type FB Fixed Base, Flashing Beacon Standard with fixed base per the attached specifications. |  |  | Ea | 890 | 890
6 | Set of three ¾” x 30” Anchor Bolts for Type RM Signal Standard |  |  | Set | 335 | 335
6A | Set of four ¾” x 30” Anchor Bolts for Type PS, I, RM & FB Signal Standard |  |  | Set | 360 | 360
7 | Slip Base Assembly Kit with keeper plate and clamping bolt hardware for type FB and RM signal standards per the attached specifications. |  |  | Ea | 1160 | 1160
7A | Keeper Plate |  |  | Ea | 25 | 25
7B | Clamping Bolts |  |  | Set | 142 | 142
7C | Slip Base |  |  | Ea | 1005 | 1005
Subpart B
Item | Description | Manufacturer | Standard Plan or Pre-approved Drawing # | Unit | Non Buy America Unit Price | Price Federal (Buy America)
8A | Type II, Mast Arm Standard per the attached specifications. a) 25' or less Mast Arm | Valmont | DB01165 | Ea | 9265 | 9265
8B | Type II, Mast Arm Standard per the attached specifications. b) 26’ to 30' Mast Arm |  |  | Ea | 9290 | 9290
8C | Type II, Mast Arm Standard per the attached specifications. c) 31” to 35' Mast Arm |  |  | Ea | 9305 | 9305
8D | Type II, Mast Arm Standard per the attached specifications. d) 36’ to 40' Mast Arm |  |  | Ea | 9960 | 9960
8E | Type II, Mast Arm Standard per the attached specifications. e) 41’ to 45' Mast Arm |  |  | Ea | 9975 | 9975
8F | Type II, Mast Arm Standard per the attached specifications. f) 46’ to 50' Mast Arm |  |  | Ea | 12380 | 12380
8G | Type II, Mast Arm Standard per the attached specifications. g) 51’ to 55' Mast Arm |  |  | Ea | 14015 | 14015
8H | Type II, Mast Arm Standard per the attached specifications. h) 56’ to 60’ Mast Arm |  |  | Ea | 15555 | 15555
8I | Type II, Mast Arm Standard per the attached specifications. i) 61’ to 65’ Mast Arm |  |  | Ea | 15575 | 15575
8J | 1 ½” Diameter Anchor Bolt Set for Type II Signal Standard for 25’ to 45’ Mast Arm |  |  | Ea | 2575 | 2575
8K | 2” Diameter Anchor Bolt Set for Type II Signal Standard for 46’ to 65’ Mast Arm |  |  | Ea | 3695 | 3695
9A | Type III, Mast Arm Standard per the attached specifications. a) 25' or less Mast Arm |  |  | Ea | 11435 | 11435
9B | Type III, Mast Arm Standard per the attached specifications. b) 26’ to 30' Mast Arm |  |  | Ea | 11460 | 11460
9C | Type III, Mast Arm Standard per the attached specifications. c) 31” to 35' Mast Arm |  |  | Ea | 11480 | 11480
9D | Type III, Mast Arm Standard per the attached specifications. d) 36’ to 40' Mast Arm |  |  | Ea | 12130 | 12130
9E | Type III, Mast Arm Standard per the attached specifications. e) 41’ to 45' Mast Arm |  |  | Ea | 12150 | 12150
9F | Type III, Mast Arm Standard per the attached specifications. f) 46’ to 50' Mast Arm |  |  | Ea | 15050 | 15050
9G | Type III, Mast Arm Standard per the attached specifications. g) 51’ to 55' Mast Arm |  |  | Ea | 16790 | 16790
9H | Type III, Mast Arm Standard per the attached specifications. h) 56’ to 60’ Mast Arm |  |  | Ea | 18100 | 18100
9I | Type III, Mast Arm Standard per the attached specifications. i) 61’ to 65” Mast Arm |  |  | Ea | 18120 | 18120
9J | 1 ½” Diameter Anchor Bolt Set for Type III Signal Standard for 25’ to 45’ Mast Arm |  |  | Ea
9K | 2” Diameter Anchor Bolt Set for Type III Signal Standard for 46’ to 65’ Mast Arm |  |  | Ea
Subpart C
Item | Description | Manufacturer | Standard Plan or Pre-approved Drawing # | Unit | Non Buy America Unit Price | Price Federal (Buy America)
10A | Type IV Strain Pole Standard per the attached specifications. a) 1900 LB. Pole Class |  |  | Ea | 3390 | 3390
10B | Type IV Strain Pole Standard per the attached specifications. b) 2700 LB. Pole Class |  |  | Ea | 3815 | 3815
10C | Type IV Strain Pole Standard per the attached specifications. c) 3700 LB. Pole Class |  |  | Ea | 4920 | 4920
10D | Type IV Strain Pole Standard per the attached specifications. d) 4800 LB. Pole Class |  |  | Ea | 5940 | 5940
10E | Type IV Strain Pole Standard per the attached specifications. e) 5600 LB. Pole Class |  |  | Ea | 5735 | 5735
10F | Type IV Strain Pole Standard per the attached specifications. f) 6300 LB. Pole Class |  |  | Ea | 6615 | 6615
10G | Type IV Strain Pole Standard per the attached specifications. g) 7200 LB. Pole Class |  |  | Ea | 6680 | 6680
11A | Type V Strain Pole and Lighting Standard per the attached specifications. a) 1900 LB. Pole Class |  |  | Ea | 4875 | 4875
11B | Type V Strain Pole and Lighting Standard per the attached specifications. b) 2700 LB. Pole Class |  |  | Ea | 5345 | 5345
11C | Type V Strain Pole and Lighting Standard per the attached specifications. c) 3700 LB. Pole Class |  |  | Ea | 6430 | 6430
11D | Type V Strain Pole and Lighting Standard per the attached specifications. d) 4800 LB. Pole Class |  |  | Ea | 7455 | 7455
11E | Type V Strain Pole and Lighting Standard per the attached specifications. e) 5600 LB. Pole Class |  |  | Ea | 7520 | 7520
11F | Type V Strain Pole and Lighting Standard per the attached specifications. f) 6300 LB. Pole Class |  |  | Ea | 9255 | 9255
11G | Type V Strain Pole and Lighting Standard per the attached specifications. g) 7200 LB. Pole Class |  |  | Ea | 9320 | 9320
12 | Anchor Bolt Set for 1900 LB. Pole Class per the attached specifications. |  |  | Ea | 2095 | 2095
13 | Anchor Bolt Set for 2700 LB. Pole Class per the attached specifications. |  |  | Ea | 2920 | 2920
14 | Anchor Bolt Set for 3700 LB. Pole Class per the attached specifications. |  |  | Ea | 2920 | 2920
15 | Anchor Bolt Set for 4800 LB. Pole Class and 5600 LB. Pole Class per the attached specifications. |  |  | Ea | 3520 | 3520
16 | Anchor Bolt Set for 6300 LB. Pole Class and 7200 LB. Pole Class per the attached specifications. |  |  | Ea | 3520 | 3520
Discount for volume purchases:
| Quantity | Percentage Discount Off Unit Price
| 10 | 5%

## Cat 3-HPS Lamps
Description | Manuf. & Cat # | Contractor | Est. 2-Year Usage | Unit of Measure | Non Buy America Unit Price | Price Federal (Buy America)
HPS 100W, low mercury content, eco friendly (TCLP compliant) |  | CED | 200 | Ea | 10.65 | 14
HPS 150W, low mercury content, eco friendly (TCLP compliant) |  | CED | 200 | Ea | 11.5 | 15
HPS 200W, low mercury content, eco friendly (TCLP compliant) |  | CED | 200 | Ea | 16.65 | 22
HPS 250W, low mercury content, eco friendly (TCLP compliant) |  | CED | 200 | Ea | 12.25 | 16
HPS 310W, low mercury content, eco friendly (TCLP compliant) |  | CED | 200 | Ea | 15 | 22

## Cat 4-LED Lumin Fixed Price
Manufacturer: Cree
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
XSPLG-D-HT-3ME-18L-30K7-UL-J-X3 | XSP Large (XSPLG) | CED | 200W | 85 | 120-240V | Ea | 403.5 | 403.5
TRVLG-A-HT-3ME-16L-30K7-UL-GY-4BLT-W10 | Traveyo Large (TRVLG) | CED | 250W | 110 | 120-240V | Ea | 269.5 | 269.5
XSPLG-D-HT-3ME-24L-30K7-UL-J-X7 | XSP Large (XSPLG) | CED | 310W | 164 | 120-240V | Ea | 507 | 507
TRVXL-A-HT-3ME-30L-30K7-UL-GY-4BLT-W10 | Traveyo Extra Large (TRVXL) | CED | 400W | 219 | 120-240V | Ea | 557 | 557
XSPLG-D-HT-3ME-18L-30K7-UL-J-X3 | XSP Large (XSPLG) | CED | 200W | 85 | 480V | Ea | 418 | 418
TRVLG-A-HT-3ME-16L-30K7-UH-GY-4BLT-W10 | Traveyo Large (TRVLG) | CED | 250W | 110 | 480V | Ea | 295 | 295
XSPLG-D-HT-3ME-24L-30K7-UH-J-X7 | XSP Large (XSPLG) | CED | 310W | 164 | 480V | Ea | 521.5 | 521.5
TRVXL-A-HT-3ME-30L-30K7-UH-GY-4BLT-W10 | Traveyo Extra Large (TRVXL) | CED | 400W | 219 | 480V | Ea | 593 | 593
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 35.5 | 35.5
Discount for volume purchases:
Quantity | Percentage Discount Off Unit Price
200+ | 5%
Manufacturer: Leotek
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
GCL1-80J-MV-30K-3F-GY-155-LPCR-4B-DSC-WL20E | Green Cobra Large (GCL) | CED | 200W | 105 | 120-240V | Ea | 493.85 | 493.85
GCL1-80J-MV-30K-3F-GY-185-LPCR-4B-DSC-WL25E | Green Cobra Large (GCL) | CED | 250W | 123 | 120-240V | Ea | 493.85 | 493.85
GCL2-80J-MV-30K-3F-GY-240-LPCR-4B-DSC-WL31E | Green Cobra Large (GCL) | CED | 310W | 171 | 120-240V | Ea | 545 | 545
GC2-96G-MV-WW-3R-GY-800-LPCR-DSC-WL40E | Green Cobra 2 (GC2) | CED | 400W | 242 | 120-240V | Ea | 596 | 596
GCL1-80J-HV-30K-3F-GY-155-LPCR-4B-DSC-WL20E | Green Cobra Large (GCL) | CED | 200W | 105 | 480V | Ea | 570.5 | 570.5
GCL1-80J-HV-30K-3F-GY-185-LPCR-4B-DSC-WL25E | Green Cobra Large (GCL) | CED | 250W | 123 | 480V | Ea | 570.5 | 570.5
GCL2-80J-HV-30K-3F-GY-240-LPCR-4B-DSC-WL31E | Green Cobra Large (GCL) | CED | 310W | 171 | 480V | Ea | 673.85 | 673.85
GC2-96G-HV-WW-3R-GY-800-LPCR-DSC-WL40E | Green Cobra 2 (GC2) | CED | 400W | 242 | 480V | Ea | 658.5 | 658.5
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 65 | 65
Discount for volume purchases:
Quantity | Percentage Discount Off Unit Price
50-199 | 10%
200+ | 15%
Manufacturer: Acuity Brands (American Electric Lighting)
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
ATB0-P303-MVOLT-R4-3K-MP-NL-NR-RFD322883 | Autobahn (ATB0) | CED | 200W | 83 | 120-240V | Ea | 410 | 475
ATB0-P451-MVOLT-R3-3K-MP-NL-NR-RFD323475 | Autobahn (ATB0) | CED | 250W | 105 | 120-240V | Ea | 475 | 510
ATB0-P454-MVOLT-R3-3K-MP-NL-NR-RFD322854 | Autobahn (ATB0) | CED | 310W | 159 | 120-240V | Ea | 590 | 670
ATB0-P455-MVOLT-R3-3K-NL-NR-RFD322886 | Autobahn (ATB0) | CED | 400W | 159 | 120-240V | Ea | 635 | 720
ATB0-P303-480-R4-3K-MP-NL-NR-RFD322887 | Autobahn (ATB0) | CED | 200W | 83 | 480V | Ea | 440 | 490
ATB0-P451-480-R3-3K-MP-NL-NR-RFD323476 | Autobahn (ATB0) | CED | 250W | 105 | 480V | Ea | 495 | 565
ATB0-P454-480-R3-3K-NL-NR-RFD324924 | Autobahn (ATB0) | CED | 310W | 159 | 480V | Ea | 650 | 690
ATB0-P455-480-R3-3K-NL-NR-RFD322890 | Autobahn (ATB0) | CED | 400W | 159 | 480V | Ea | 665 | 740
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 30 | 35
Discount for volume purchases:
Quantity | Percentage Discount Off Unit Price
50-199 | 10%
200+ | 15%
Manufacturer: Cooper (Streetworks)
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
ARCH-M-PA2-70-730-U-T3-AP-10K-U101941 | Archeon Medium (ARCH-M) | CED | 200W | 73 | 120-240V | Ea | 325 | 325
NVN-AF-02-E-U-T3-10K-7030-AP-U99549 | Navion (NVN) | CED | 200W | 85 | 120-240V | Ea | 408.85 | 408.85
NVN-AF-03-E-U-T3R-10K-7030-800-AP-U99550 | Navion (NVN) | CED | 250W | 113 | 120-240V | Ea | 467 | 467
ARCH-M-PA2-120-730-U-T3-AP-10K-U103211 | Archeon Medium (ARCH-M) | CED | 250W | 122 | 120-240V | Ea | 346.5 | 346.5
ARCH-L-PA3-160-730-U-T3-AP-10K-U103213 | Archeon Large (ARCH-L) | CED | 310W | 162 | 120-240V | Ea | 453.5 | 453.5
NVN-AF-03-E-U-T3-10K-7030-AP-U99551 | Navion (NVN) | CED | 310W | 166 | 120-240V | Ea | 467 | 467
ARCH-L-PA3-220-730-U-T3-AP-10K-U103215 | Archeon Large (ARCH-L) | CED | 400W | 222 | 120-240V | Ea | 473.25 | 473.25
NVN-AF-04-E-U-T3R-10K-7030-AP-U99552 | Navion (NVN) | CED | 400W | 249 | 120-240V | Ea | 620.25 | 620.25
ARCH-M-PA2-70-730-8-T3-AP-10K-U101940 | Archeon Medium (ARCH-M) | CED | 200W | 73 | 480V | Ea | 340.25 | 340.25
NVN-AF-02-E-8-T3-10K-7030-AP-U99583 | Navion (NVN) | CED | 200W | 85 | 480V | Ea | 422 | 422
NVN-AF-03-E-8-T3R-10K-7030-800-AP-U99584 | Navion (NVN) | CED | 250W | 113 | 480V | Ea | 479.25 | 479.25
ARCH-M-PA2-120-730-8-T3-AP-10K-U103212 | Archeon Medium (ARCH-M) | CED | 250W | 122 | 480V | Ea | 359.75 | 359.75
ARCH-L-PA3-160-730-8-T3-AP-10K-U103214 | Archeon Large (ARCH-L) | CED | 310W | 162 | 480V | Ea | 485.25 | 485.25
NVN-AF-03-E-8-T3-10K-7030-AP-U99585 | Navion (NVN) | CED | 310W | 166 | 480V | Ea | 479.25 | 479.25
ARCH-L-PA3-220-730-8-T3-AP-10K-U103216 | Archeon Large (ARCH-L) | CED | 400W | 222 | 480V | Ea | 485.25 | 485.25
NVN-AF-04-E-8-T3R-10K-7030-AP-U99586 | Navion (NVN) | CED | 400W | 249 | 480V | Ea | 632.5 | 632.5
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 12.25 | 12
| Additional Cost for Fuse Block | CED |  |  |  | Ea | 9.25 | 9.25
Discount for volume purchases:
Quantity | Percentage Discount Off Unit Price
50-199 | 10%
200+ | 15%
Manufacturer: GE
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
ERLH-0-13-C3-30-1-GRAY-A-B-I-L-055 | Evolve (ERLH) | CED | 200W | 111 | 120-240V | Ea | 307.75 | 307.75
ERL2-0-18-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 250W | 140 | 120-240V | Ea | 348.25 | 348.25
ERL2-0-21-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 310W | 177 | 120-240V | Ea | 387.5 | 387.5
ERL2-0-28-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 400W | 251 | 120-240V | Ea | 524 | 524
ERLH-0-13-C3-30-1-GRAY-A-B-I-L-055 | Evolve (ERLH) | CED | 200W | 111 | 480V | Ea | 308.75 | 308.75
ERL2-H-18-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 250W | 140 | 480V | Ea | 349.25 | 349.25
ERL2-H-21-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 310W | 177 | 480V | Ea | 386.5 | 386.5
ERL2-H-28-C3-30-1-GRAY-A-B-I-L-041 | Evolve (ERL2) | CED | 400W | 251 | 480V | Ea | 526 | 526
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 2 | 2
Manufacturer: Signify
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
RFM-108W32LED3K-G2-R3M-UNIV-2C-NRC-GY3 | RoadFocus Medium (RFM) | CED | 200W | 108 | 120-240V | Ea | 240 | 240
RFL-135W80LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL) | CED | 250W | 136 | 120-240V | Ea | 430 | 430
RFL-165W100LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL) | CED | 310W | 156 | 120-240V | Ea | 480 | 480
RFL-225W100LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL) | CED | 400W | 243 | 120-240V | Ea | 480 | 480
RFM-108W32LED3K-G2-R3M-UNIV-2C-NRC-GY3 | RoadFocus Medium (RFM) | CED | 200W | 108 | 480V | Ea | 290 | 290
RFL-135W80LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL) | CED | 250W | 136 | 480V | Ea | 455 | 455
RFL-165W100LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL) | CED | 310W | 156 | 480V | Ea | 505 | 505
RFL-225W100LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL) | CED | 400W | 243 | 480V | Ea | 505 | 505
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 25 | 25
Manufacturer: SolarMAX
Part Number | Description | Contractor | Wattage Class | Power Use (Watts) | Volts | Unit Of Measure | Non Buy America Unit Price | Price Federal (Buy America)
SMX-68WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 200W | 68 | 120-240V | Ea | 182.5 | 195
SMX-120WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 250W | 120 | 120-240V | Ea | 220 | 230
SMX-166WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 310W | 166 | 120-240V | Ea | 230 | 250
SMX-218WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 400W | 218 | 120-240V | Ea | 270 | 285
SMX-68WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 200W | 68 | 480V | Ea | 210 | 225
SMX-120WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 250W | 120 | 480V | Ea | 245 | 265
SMX-166WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 310W | 166 | 480V | Ea | 255 | 275
SMX-218WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5 | CED | 400W | 218 | 480V | Ea | 295 | 325
| Additional Cost for 480 Volt | CED |  |  |  | Ea | 25 | 35
| Additional Cost for Fuse Block | CED |  |  |  | Ea | 40 | 50
| Additional Cost for Shorting Cap | CED |  |  |  | Ea | 9.25 | 10.25

## Cat 5-Luminaires % Off
Category Five Pricing
For current prices of LED roadway luminaire types (% off list) and accessories see table below:
Note: Any LED fixtures included in Category Four (LED – Fixed Price) are EXCLUDED from this Category Five.
Luminaire Types:
Item | Description | Manufacturer | Contractor | % Off List | Volume Discounts
[5 empty] | 50-199 | 200+
1 | Pole/Arm Mounted – Decorative | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | CED | 41% | 0% | 5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%
2 | Pole/Arm Mounted – Area & Roadway | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | CED | 41% | 0% | 5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%
3 | Overhead Sign | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
4 | Tunnel – Ceiling Mount | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
5 | Tunnel – Wall Mount | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
6 | Wall Mount /Wallpack | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | CED | 41% | 0% | 5%
|  | Signify | CED | 24% | 0% | 5%
7 | Ceiling Mount / Underdeck | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
8 | Highmast / High Bay | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
9 | Parking Garage / Canopy | Acuity Brands | CED | 25% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 24% | 0% | 5%
|  | GE Lighting Solutions | CED | 46% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%
Luminaire Parts & Accessories:
Item | Description | Manufacturer | Contractor | % Off List | Volume Discounts
[5 empty] | 50-199 | 200+
1 | Dimming Control Module | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | North Coast Electric | 31% | 1% | 1.5%
|  | Cree / Beta | North Coast Electric | 16% | 1% | 1.5%
|  | GE Lighting Solutions | North Coast Electric | 16% | 1% | 1.5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | North Coast Electric | 16% | 1% | 1.5%
2 | Transformer | Acuity Brands | North Coast Electric | 22% | 1% | 1.5%
|  | Cooper Lighting | North Coast Electric | 31% | 1% | 1.5%
|  | Cree / Beta | North Coast Electric | 16% | 1% | 1.5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | North Coast Electric | 16% | 1% | 1.5%
3 | Drivers | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 20% | 0% | 5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | North Coast Electric | 16% | 1% | 1.5%
4 | Photocontrols | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 22% | 0% | 5%
|  | Leotek | CED | 41% | 0% | 5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%
5 | Control System Nodes | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | North Coast Electric | 31% | 1% | 1.5%
|  | Cree / Beta | North Coast Electric | 16% | 1% | 1.5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | North Coast Electric | 16% | 1% | 1.5%
6 | Fuses & Fuse Kits | Acuity Brands | North Coast Electric | 22% | 1% | 1.5%
|  | Cooper Lighting | North Coast Electric | 31% | 1% | 1.5%
|  | Cree / Beta | North Coast Electric | 16% | 1% | 1.5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%
7 | Gateway Control System | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | North Coast Electric | 31% | 1% | 1.5%
|  | Cree / Beta | North Coast Electric | 16% | 1% | 1.5%
|  | Leotek | North Coast Electric | 31% | 1% | 1.5%
|  | Signify | North Coast Electric | 16% | 1% | 1.5%
8 | Shorting Cap | Acuity Brands | CED | 26% | 0% | 5%
|  | Cooper Lighting | CED | 41% | 0% | 5%
|  | Cree / Beta | CED | 22% | 0% | 5%
|  | Leotek | CED | 41% | 0% | 5%
|  | Signify | CED | 24% | 0% | 5%
|  | SolarMAX | CED | 16% | 0% | 5%

## Cat 6-Not Otherwise
Luminaires/Poles Not Otherwise Listed
Lead-times for Category Three is 12-14 weeks
Provide the traffic signal standards with internal terminal compartment, traffic signal standard mast arms, anchor bolts, traffic signal standard foundations, and associated luminaire arms. Per specifications.
Subpart AII: Signal Standards Type II
| Item # | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
| AII-1 | Type II, Mast Arm Standard per specifications. a) 25' or less Mast Arm | Valmont | Ea | 12150 | 12150
| AII-2 | Type II, Mast Arm Standard per specifications. b) 26’ to 30' Mast Arm | Valmont | Ea | 12175 | 12175
| AII-3 | Type II, Mast Arm Standard per specifications. c) 31” to 35' Mast Arm | Valmont | Ea | 12190 | 12190
| AII-4 | Type II, Mast Arm Standard per specifications. d) 36’ to 40' Mast Arm | Valmont | Ea | 12845 | 12845
| AII-5 | Type II, Mast Arm Standard per specifications. e) 41’ to 45' Mast Arm | Valmont | Ea | 12865 | 12865
| AII-6 | Type II, Mast Arm Standard per specifications. f) 46’ to 50' Mast Arm | Valmont | Ea | 15270 | 15270
| AII-7 | Type II, Mast Arm Standard per specifications. g) 51’ to 55' Mast Arm | Valmont | Ea | 17010 | 17010
| AII-8 | Type II, Mast Arm Standard per specifications. h) 56’ to 60’ Mast Arm | Valmont | Ea | 18445 | 18445
| AII-9 | Type II, Mast Arm Standard per specifications. i) 61’ to 65’ Mast Arm | Valmont | Ea | 18470 | 18470
| AII-10 | 1 ½” Diameter Anchor Bolt Set for Type II Signal Standard for 25’ to 45’ Mast Arm |  | Ea | 2575 | 2575
| AII-11 | 2” Diameter Anchor Bolt Set for Type II Signal Standard for 46’ to 65’ Mast Arm |  | Ea | 3695 | 3695
Provide the traffic signal standards with internal terminal compartment, traffic signal standard mast arms, anchor bolts, traffic signal standard foundations, and associated luminaire arms. Per specifications.
Subpart AIII: Signal Standards Type III
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
| AIII-1 | Type III, Mast Arm Standard per specifications. a) 25' or less Mast Arm | Valmont | Ea | 14720 | 14720
| AIII-2 | Type III, Mast Arm Standard per specifications. b) 26’ to 30' Mast Arm | Valmont | Ea | 14745 | 14745
| AIII-3 | Type III, Mast Arm Standard per specifications. c) 31” to 35' Mast Arm | Valmont | Ea | 14810 | 14810
| AIII-4 | Type III, Mast Arm Standard per specifications. d) 36’ to 40' Mast Arm | Valmont | Ea | 15565 | 15565
| AIII-5 | Type III, Mast Arm Standard per specifications. e) 41’ to 45' Mast Arm | Valmont | Ea | 15580 | 15580
| AIII-6 | Type III, Mast Arm Standard per specifications. f) 46’ to 50' Mast Arm | Valmont | Ea | 19600 | 19600
| AIII-7 | Type III, Mast Arm Standard per specifications. g) 51’ to 55' Mast Arm | Valmont | Ea | 20350 | 20350
| AIII-8 | Type III, Mast Arm Standard per specifications. h) 56’ to 60’ Mast Arm | Valmont | Ea | 21250 | 21250
| AIII-9 | Type III, Mast Arm Standard per specifications. i) 61’ to 65” Mast Arm | Valmont | Ea | 21270 | 21270
| AIII-10 | 1 ½” Diameter Anchor Bolt Set for Type III Signal Standard for 25’ to 45’ Mast Arm |  | Ea | 2575 | 2575
| AIII-11 | 2” Diameter Anchor Bolt Set for Type III Signal Standard for 46’ to 65’ Mast Arm |  | Ea | 3695 | 3695
Provide the traffic signal standards anchor bolts, traffic signal standard foundations. Per specifications.
Subpart AIV: Signal Standards Type IV
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
| AIV-1 | Type IV Strain Pole Standard per specifications. a) 1900 LB. Pole Class | Valmont | Ea | 3445 | 3445
| AIV-2 | Type IV Strain Pole Standard per specifications. b) 2700 LB. Pole Class | Valmont | Ea | 3750 | 3750
| AIV-3 | Type IV Strain Pole Standard per specifications. c) 3700 LB. Pole Class | Valmont | Ea | 4920 | 4920
| AIV-4 | Type IV Strain Pole Standard per specifications. d) 4800 LB. Pole Class | Valmont | Ea | 5940 | 5940
| AIV-5 | Type IV Strain Pole Standard per specifications. e) 5600 LB. Pole Class | Valmont | Ea | 5735 | 5735
| AIV-6 | Type IV Strain Pole Standard per specifications. f) 6300 LB. Pole Class | Valmont | Ea | 6615 | 6615
| AIV-7 | Type IV Strain Pole Standard per specifications. g) 7200 LB. Pole Class | Valmont | Ea | 6680 | 6680
| AIV-8 | Anchor Bolt Set for 1900 LB. Pole Class per the attached specifications. | vendor | Ea | 2095 | 2095
| AIV-9 | Anchor Bolt Set for 2700 LB. Pole Class per the attached specifications. | vendor | Ea | 2920 | 2920
| AIV-10 | Anchor Bolt Set for 3700 LB. Pole Class per the attached specifications. |  | Ea | 2920 | 2920
| AIV-11 | Anchor Bolt Set for 4800 LB. Pole Class and 5600 LB. Pole Class per the attached specifications. |  | Ea | 3520 | 3520
| AIV-12 | Anchor Bolt Set for 6300 LB. Pole Class and 7200 LB. Pole Class per the attached specifications. |  | Ea | 3520 | 3520
Provide the traffic signal standards anchor bolts, traffic signal standard foundations and associated luminaire arm. Per specifications.
Subpart AV: Signal Standards Type V
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
| AV-1 | Type V Standard with 6" by 29" ITC shall meet specifications as found in Exhibit B - Technical Specifications (this line item pricing is adder for poles listed below needing a 6 x 29" HHR and Stainless steel door.) | Valmont | Ea | 1300 | 1300
| AV-2 | Type V Strain Pole and Lighting Standard per specifications. a) 1900 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 3735 | 3735
| AV-3 | Type V Strain Pole and Lighting Standard per specifications. b) 2700 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 4745 | 4745
| AV-4 | Type V Strain Pole and Lighting Standard per specifications. c) 3700 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 5815 | 5815
| AV-5 | Type V Strain Pole and Lighting Standard per specifications. d) 4800 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 6940 | 6940
| AV-6 | Type V Strain Pole and Lighting Standard per specifications. e) 5600 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 7010 | 7010
| AV-7 | Type V Strain Pole and Lighting Standard per specifications. f) 6300 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 7775 | 7775
| AV-8 | Type V Strain Pole and Lighting Standard per specifications. g) 7200 LB. Pole Class (these structures do not include the 6 x 29" door or stainless doors) | Valmont | Ea | 7845 | 7845
| AV-9 | Anchor Bolt Set for 1900 LB. Pole Class per the attached specifications. | vendor | Ea | 2095 | 2095
| AV-10 | Anchor Bolt Set for 2700 LB. Pole Class per the attached specifications. | vendor | Ea | 2920 | 2920
| AV-11 | Anchor Bolt Set for 3700 LB. Pole Class per the attached specifications. |  | Ea | 2920 | 2920
| AV-12 | Anchor Bolt Set for 4800 LB. Pole Class and 5600 LB. Pole Class per the attached specifications. |  | Ea | 3520 | 3520
| AV-13 | Anchor Bolt Set for 6300 LB. Pole Class and 7200 LB. Pole Class per the attached specifications. |  | Ea | 3520 | 3520
Subpart B: Steel Light Standards
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
|  | Provide steel light standards with bolt-on type luminaire bracket arms, per specifications in Exhibit B-1 Technical Specifications. |  | Ea | 3500
***Meltar is providing an alternative product that still meets AASHTO requirements while not being a steel or aluminum product.*** |  | Provide WGN-AB-9RS30 30' Mounting Height 9" round Anchor Base Light Pole 6' outreach, stainless steel baseplate, Luminaire Tenon, with Foundation Cage & HD Bolts, per specifications in Exhibit B-1 Technical Specifications. | Wagners CFT | Ea | 2052 | 2052
Subpart C: Aluminum Light Standards
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
|  | Provide steel light standards with bolt-on type luminaire bracket arms, per specifications in Exhibit B-1 Technical Specifications. |  | Ea | 2500 | 2500
***Meltar is providing an alternative product that still meets AASHTO requirements while not being a steel or aluminum product.*** |  | Provide WGN-AB-9RS30 30' Mounting Height 9" round Anchor Base Light Pole 6' outreach, stainless steel baseplate, Luminaire Tenon, with Foundation Cage & HD Bolts, per specifications in Exhibit B-1 Technical Specifications. | Wagners CFT | Ea | 2052 | 2052
Subpart D: Barrier Elbow Mount Steel Standards
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
|  | Provide and install barrier mount steel light standards with bolt-on type luminaire bracket arms, which shall conform to the specifications in Exhibit B-1 Technical Specifications. |  | Ea | 4500
Subpart F: Dynamic Warning Standards
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
|  | Dynamic Warning Standards to be provided shall meet specifications as found in Exhibit B-1 Technical Specifications. |  | Ea | 875
Subpart G: Business District Single Fixture Light Standard
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
***Meltar is providing an alternative product that still meets AASHTO requirements while not being a steel or aluminum product.*** |  | Single Fixture Light Stands to be provided shall meet specifications as found in Exhibit B-1 Technical Specifications. | Wagners CFT | Ea | 2288 | 2288
Subpart H: Business District Dual Fixture Light Standard
| Item | Description | Manufacturer | Unit | Non Buy America Unit Price | Price Federal (Buy America)
***Meltar is providing an alternative product that still meets AASHTO requirements while not being a steel or aluminum product.*** |  | Dual Fixture Light Stands to be provided shall meet specifications as found in Exhibit B-1 Technical Specifications. | Wagners CFT | Ea | 2536 | 2536